## Registers
No | Section | Address_Hex | Address_Dec | Definition | Data_Type | FC_Code | Registers | Unit | Scale_Factor | R/W | Description
--- Grid Data ---
1 | Grid Data | 0x0002 | 2 | Grid overvoltage | U16 | FC03 | 1 |  |  | RO
2 | Grid Data | 0x0003 | 3 | Grid transient overvoltage | U16 | FC03 | 1 |  |  | RO
3 | Grid Data | 0x0004 | 4 | Grid undervoltage | U16 | FC03 | 1 |  |  | RO
4 | Grid Data | 0x0005 | 5 | Grid low voltage | U16 | FC03 | 1 |  |  | RO
5 | Grid Data | 0x0007 | 7 | AC instantaneous overcurrent | U16 | FC03 | 1 |  |  | RO
6 | Grid Data | 0x0008 | 8 | Grid over frequency | U16 | FC03 | 1 |  |  | RO
7 | Grid Data | 0x0009 | 9 | Grid underfrequency | U16 | FC03 | 1 |  |  | RO
8 | Grid Data | 0x000A | 10 | Grid power outage | U16 | FC03 | 1 |  |  | RO
9 | Grid Data | 0x000B | 11 | Device abnormal | U16 | FC03 | 1 |  |  | RO
10 | Grid Data | 0x000C | 12 | Excessive leakage current | U16 | FC03 | 1 |  |  | RO
11 | Grid Data | 0x000D | 13 | Grid abnormal | U16 | FC03 | 1 |  |  | RO
12 | Grid Data | 0x000E | 14 | 10-minute grid overvoltage | U16 | FC03 | 1 |  |  | RO
13 | Grid Data | 0x000F | 15 | Grid high voltage | U16 | FC03 | 1 |  |  | RO
14 | Grid Data | 0x0010 | 16 | Output overload | U16 | FC03 | 1 |  |  | RO
--- Output Data ---
15 | Output Data | 0x0011 | 17 | Grid voltage unbalance | U16 | FC03 | 1 |  |  | RO
--- Grid Data ---
16 | Grid Data | 0x0013 | 19 | Device abnormal | U16 | FC03 | 1 |  |  | RO
17 | Grid Data | 0x0014 | 20 | Device abnormal | U16 | FC03 | 1 |  |  | RO
18 | Grid Data | 0x0015 | 21 | Device abnormal | U16 | FC03 | 1 |  |  | RO
19 | Grid Data | 0x0016 | 22 | Device abnormal | U16 | FC03 | 1 |  |  | RO
20 | Grid Data | 0x0017 | 23 | PV connection fault | U16 | FC03 | 1 |  |  | RO
21 | Grid Data | 0x0018 | 24 | Device abnormal | U16 | FC03 | 1 |  |  | RO
22 | Grid Data | 0x0019 | 25 | Device abnormal | U16 | FC03 | 1 |  |  | RO
23 | Grid Data | 0x001E | 30 | Device abnormal | U16 | FC03 | 1 |  |  | RO
24 | Grid Data | 0x001F | 31 | Device abnormal | U16 | FC03 | 1 |  |  | RO
25 | Grid Data | 0x0020 | 32 | Device abnormal | U16 | FC03 | 1 |  |  | RO
26 | Grid Data | 0x0021 | 33 | Device abnormal | U16 | FC03 | 1 |  |  | RO
27 | Grid Data | 0x0022 | 34 | Device abnormal | U16 | FC03 | 1 |  |  | RO
28 | Grid Data | 0x0024 | 36 | Excessively high module temperature | U16 | FC03 | 1 |  |  | RO
29 | Grid Data | 0x0025 | 37 | Excessively high ambient temperature | U16 | FC03 | 1 |  |  | RO
30 | Grid Data | 0x0026 | 38 | Device abnormal | U16 | FC03 | 1 |  |  | RO
31 | Grid Data | 0x0027 | 39 | Low system insulation resistance | U16 | FC03 | 1 |  |  | RO
32 | Grid Data | 0x0028 | 40 | Device abnormal | U16 | FC03 | 1 |  |  | RO
33 | Grid Data | 0x0029 | 41 | Device abnormal | U16 | FC03 | 1 |  |  | RO
34 | Grid Data | 0x002A | 42 | Device abnormal | U16 | FC03 | 1 |  |  | RO
35 | Grid Data | 0x002B | 43 | Low ambient temperature | U16 | FC03 | 1 |  |  | RO
36 | Grid Data | 0x002C | 44 | Device abnormal | U16 | FC03 | 1 |  |  | RO
37 | Grid Data | 0x002D | 45 | Device abnormal | U16 | FC03 | 1 |  |  | RO
38 | Grid Data | 0x002E | 46 | Device abnormal | U16 | FC03 | 1 |  |  | RO
39 | Grid Data | 0x002F | 47 | PV input configuration abnormal | U16 | FC03 | 1 |  |  | RO
40 | Grid Data | 0x0030 | 48 | Device abnormal | U16 | FC03 | 1 |  |  | RO
41 | Grid Data | 0x0031 | 49 | Device abnormal | U16 | FC03 | 1 |  |  | RO
42 | Grid Data | 0x0032 | 50 | Device abnormal | U16 | FC03 | 1 |  |  | RO
43 | Grid Data | 0x0035 | 53 | Device abnormal | U16 | FC03 | 1 |  |  | RO
44 | Grid Data | 0x0036 | 54 | Device abnormal | U16 | FC03 | 1 |  |  | RO
45 | Grid Data | 0x0037 | 55 | Device abnormal | U16 | FC03 | 1 |  |  | RO
46 | Grid Data | 0x0038 | 56 | Device abnormal | U16 | FC03 | 1 |  |  | RO
47 | Grid Data | 0x003B | 59 | Device abnormal | U16 | FC03 | 1 |  |  | RO
48 | Grid Data | 0x003C | 60 | Device abnormal | U16 | FC03 | 1 |  |  | RO
49 | Grid Data | 0x0046 | 70 | Fan alarm | U16 | FC03 | 1 |  |  | RO
50 | Grid Data | 0x0047 | 71 | AC-side SPD alarm | U16 | FC03 | 1 |  |  | RO
51 | Grid Data | 0x0048 | 72 | DC-side SPD alarm | U16 | FC03 | 1 |  |  | RO
52 | Grid Data | 0x004A | 74 | Communication alarm | U16 | FC03 | 1 |  |  | RO
53 | Grid Data | 0x004C | 76 | Device abnormal | U16 | FC03 | 1 |  |  | RO
54 | Grid Data | 0x004E | 78 | PV1 abnormal | U16 | FC03 | 1 |  |  | RO
55 | Grid Data | 0x004F | 79 | PV2 abnormal | U16 | FC03 | 1 |  |  | RO
56 | Grid Data | 0x0050 | 80 | PV3 abnormal | U16 | FC03 | 1 |  |  | RO
57 | Grid Data | 0x0051 | 81 | PV4 abnormal | U16 | FC03 | 1 |  |  | RO
58 | Grid Data | 0x0057 | 87 | Electric arc detection module | U16 | FC03 | 1 |  |  | RO
59 | Grid Data | 0x0058 | 88 | Electric arc fault | U16 | FC03 | 1 |  |  | RO
60 | Grid Data | 0x0059 | 89 | Electric arc detection disabled | U16 | FC03 | 1 |  |  | RO
61 | Grid Data | 0x0069 | 105 | Grid-side protection self-check failure | U16 | FC03 | 1 |  |  | RO
62 | Grid Data | 0x006A | 106 | Grounding cable fault | U16 | FC03 | 1 |  |  | RO
--- Device Information ---
63 | Device Information | 0x0070 | 112 | 3;3;2 |  | FC03 | 3 |  |  | RO | 0-1000 ¦ 0-300 ¦ -150-150 ¦ SG30KTL-M-V31 ¦ 3;3;2 ¦ 0-1000 ¦ 0-300 ¦ -150-150 ¦ SG33KTL-M ¦ 0x0134 ¦ 3 ¦ 3;3;2
64 | Device Information | 0x0072 | 114 | 0-1000 |  | FC03 | 1 |  |  | RO | 0-495 ¦ -247-247 ¦ SG34KJ
65 | Device Information | 0x0073 | 115 | 0-1000 |  | FC03 | 1 |  |  | RO | 0-340 ¦ -170-170 ¦ LP_P34KSG
--- Grid Data ---
66 | Grid Data | 0x0074 | 116 | Device abnormal | U16 | FC03 | 1 |  |  | RO
67 | Grid Data | 0x0075 | 117 | Device abnormal | U16 | FC03 | 1 |  |  | RO
68 | Grid Data | 0x00DC | 220 | PV5 abnormal | U16 | FC03 | 1 |  |  | RO
69 | Grid Data | 0x00DD | 221 | PV6 abnormal | U16 | FC03 | 1 |  |  | RO
70 | Grid Data | 0x00DE | 222 | PV7 abnormal | U16 | FC03 | 1 |  |  | RO
71 | Grid Data | 0x00DF | 223 | PV8 abnormal | U16 | FC03 | 1 |  |  | RO
72 | Grid Data | 0x00E0 | 224 | PV9 abnormal | U16 | FC03 | 1 |  |  | RO
73 | Grid Data | 0x00E1 | 225 | PV10 abnormal | U16 | FC03 | 1 |  |  | RO
74 | Grid Data | 0x00E2 | 226 | PV11 abnormal | U16 | FC03 | 1 |  |  | RO
75 | Grid Data | 0x00E3 | 227 | PV12 abnormal | U16 | FC03 | 1 |  |  | RO
--- MPPT Data ---
76 | MPPT Data | 0x010F | 271 | -300-300 | U16 | FC03 | 1 |  |  | RO
77 | MPPT Data | 0x011B | 283 | -250-250 | U16 | FC03 | 1 |  |  | RO
78 | MPPT Data | 0x0131 | 305 | -300-300 | U16 | FC03 | 1 |  |  | RO
79 | MPPT Data | 0x0132 | 306 | -300-300 | U16 | FC03 | 1 |  |  | RO
80 | MPPT Data | 0x0134 | 308 | 3;3;2 | U16 | FC03 | 1 |  |  | RO
81 | MPPT Data | 0x0135 | 309 | -200-200 | U16 | FC03 | 1 |  |  | RO
82 | MPPT Data | 0x0136 | 310 | -300-300 | U16 | FC03 | 1 |  |  | RO
83 | MPPT Data | 0x0137 | 311 | -247-247 | U16 | FC03 | 1 |  |  | RO
84 | MPPT Data | 0x0138 | 312 | -400-400 | U16 | FC03 | 1 |  |  | RO
85 | MPPT Data | 0x0139 | 313 | -400-400 | U16 | FC03 | 1 |  |  | RO
86 | MPPT Data | 0x013B | 315 | -625-625 | U16 | FC03 | 1 |  |  | RO
87 | MPPT Data | 0x013C | 316 | -60-60 | U16 | FC03 | 1 |  |  | RO
88 | MPPT Data | 0x013D | 317 | -166-166 | U16 | FC03 | 1 |  |  | RO
89 | MPPT Data | 0x013E | 318 | Default: 0-1100 | U16 | FC03 | 1 |  |  | RO
90 | MPPT Data | 0x013F | 319 | -40-40 | U16 | FC03 | 1 |  |  | RO
91 | MPPT Data | 0x0141 | 321 | 3;3;2 | U16 | FC03 | 1 |  |  | RO
92 | MPPT Data | 0x0142 | 322 | -75-75 | U16 | FC03 | 1 |  |  | RO
93 | MPPT Data | 0x0143 | 323 | -100-100 | U16 | FC03 | 1 |  |  | RO
94 | MPPT Data | 0x0147 | 327 | -25-25 | U16 | FC03 | 1 |  |  | RO
95 | MPPT Data | 0x0148 | 328 | -30-30 | U16 | FC03 | 1 |  |  | RO
96 | MPPT Data | 0x0149 | 329 | -85-85 | U16 | FC03 | 1 |  |  | RO
97 | MPPT Data | 0x014C | 332 | -555-555 | U16 | FC03 | 1 |  |  | RO
--- String Data ---
98 | String Data | 0x01B0 | 432 | PID impedance abnormity | U16 | FC03 | 1 |  |  | RO
99 | String Data | 0x01B1 | 433 | PID function abnormity | U16 | FC03 | 1 |  |  | RO
100 | String Data | 0x01B2 | 434 | PID | U16 | FC03 | 1 |  |  | RO
101 | String Data | 0x01C0 | 448 | String 1 reverse connection fault | U16 | FC03 | 1 |  |  | RO
102 | String Data | 0x01C1 | 449 | String 2 reverse connection fault | U16 | FC03 | 1 |  |  | RO
103 | String Data | 0x01C2 | 450 | String 3 reverse connection fault | U16 | FC03 | 1 |  |  | RO
104 | String Data | 0x01C3 | 451 | String 4 reverse connection fault | U16 | FC03 | 1 |  |  | RO
105 | String Data | 0x01C4 | 452 | String 5 reverse connection fault | U16 | FC03 | 1 |  |  | RO
106 | String Data | 0x01C5 | 453 | String 6 reverse connection fault | U16 | FC03 | 1 |  |  | RO
107 | String Data | 0x01C6 | 454 | String 7 reverse connection fault | U16 | FC03 | 1 |  |  | RO
108 | String Data | 0x01C7 | 455 | String 8 reverse connection fault | U16 | FC03 | 1 |  |  | RO
109 | String Data | 0x01C8 | 456 | String 9 reverse connection fault | U16 | FC03 | 1 |  |  | RO
110 | String Data | 0x01C9 | 457 | String 10 reverse connection fault | U16 | FC03 | 1 |  |  | RO
111 | String Data | 0x01CA | 458 | String 11 reverse connection fault | U16 | FC03 | 1 |  |  | RO
112 | String Data | 0x01CB | 459 | String 12 reverse connection fault | U16 | FC03 | 1 |  |  | RO
113 | String Data | 0x01CC | 460 | String 13 reverse connection fault | U16 | FC03 | 1 |  |  | RO
114 | String Data | 0x01CD | 461 | String 14 reverse connection fault | U16 | FC03 | 1 |  |  | RO
115 | String Data | 0x01CE | 462 | String 15 reverse connection fault | U16 | FC03 | 1 |  |  | RO
116 | String Data | 0x01CF | 463 | String 16 reverse connection fault | U16 | FC03 | 1 |  |  | RO
117 | String Data | 0x01D0 | 464 | String 17 reverse connection fault | U16 | FC03 | 1 |  |  | RO
118 | String Data | 0x01D1 | 465 | String 18 reverse connection fault | U16 | FC03 | 1 |  |  | RO
119 | String Data | 0x01D2 | 466 | String 19 reverse connection fault | U16 | FC03 | 1 |  |  | RO
120 | String Data | 0x01D3 | 467 | String 20 reverse connection fault | U16 | FC03 | 1 |  |  | RO
121 | String Data | 0x01D4 | 468 | String 21 reverse connection fault | U16 | FC03 | 1 |  |  | RO
122 | String Data | 0x01D5 | 469 | String 22 reverse connection fault | U16 | FC03 | 1 |  |  | RO
123 | String Data | 0x01D6 | 470 | String 23 reverse connection fault | U16 | FC03 | 1 |  |  | RO
124 | String Data | 0x01D7 | 471 | String 24 reverse connection fault | U16 | FC03 | 1 |  |  | RO
--- Grid Data ---
125 | Grid Data | 0x0202 | 514 | Meter communication abnormal | U16 | FC03 | 1 |  |  | RO
126 | Grid Data | 0x0214 | 532 | String 1 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
--- String Data ---
127 | String Data | 0x0215 | 533 | String 2 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
128 | String Data | 0x0216 | 534 | String 3 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
129 | String Data | 0x0217 | 535 | String 4 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
130 | String Data | 0x0218 | 536 | String 5 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
131 | String Data | 0x0219 | 537 | String 6 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
132 | String Data | 0x021A | 538 | String 7 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
133 | String Data | 0x021B | 539 | String 8 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
134 | String Data | 0x021C | 540 | String 9 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
135 | String Data | 0x021D | 541 | String 10 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
136 | String Data | 0x021E | 542 | String 11 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
137 | String Data | 0x021F | 543 | String 12 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
138 | String Data | 0x0220 | 544 | String 13 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
139 | String Data | 0x0221 | 545 | String 14 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
140 | String Data | 0x0222 | 546 | String 15 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
141 | String Data | 0x0223 | 547 | String 16 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
142 | String Data | 0x0224 | 548 | String 1 abnormal alarm | U16 | FC03 | 1 |  |  | RO
143 | String Data | 0x0225 | 549 | String 2 abnormal alarm | U16 | FC03 | 1 |  |  | RO
144 | String Data | 0x0226 | 550 | String 3 abnormal alarm | U16 | FC03 | 1 |  |  | RO
145 | String Data | 0x0227 | 551 | String 4 abnormal alarm | U16 | FC03 | 1 |  |  | RO
146 | String Data | 0x0228 | 552 | String 5 abnormal alarm | U16 | FC03 | 1 |  |  | RO
147 | String Data | 0x0229 | 553 | String 6 abnormal alarm | U16 | FC03 | 1 |  |  | RO
148 | String Data | 0x022A | 554 | String 7 abnormal alarm | U16 | FC03 | 1 |  |  | RO
149 | String Data | 0x022B | 555 | String 8 abnormal alarm | U16 | FC03 | 1 |  |  | RO
150 | String Data | 0x022C | 556 | String 9 abnormal alarm | U16 | FC03 | 1 |  |  | RO
151 | String Data | 0x022D | 557 | String 10 abnormal alarm | U16 | FC03 | 1 |  |  | RO
152 | String Data | 0x022E | 558 | String 11 abnormal alarm | U16 | FC03 | 1 |  |  | RO
153 | String Data | 0x022F | 559 | String 12 abnormal alarm | U16 | FC03 | 1 |  |  | RO
154 | String Data | 0x0230 | 560 | String 13 abnormal alarm | U16 | FC03 | 1 |  |  | RO
155 | String Data | 0x0231 | 561 | String 14 abnormal alarm | U16 | FC03 | 1 |  |  | RO
156 | String Data | 0x0232 | 562 | String 15 abnormal alarm | U16 | FC03 | 1 |  |  | RO
157 | String Data | 0x0233 | 563 | String 16 abnormal alarm | U16 | FC03 | 1 |  |  | RO
158 | String Data | 0x0234 | 564 | String 17 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
159 | String Data | 0x0235 | 565 | String 18 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
160 | String Data | 0x0236 | 566 | String 19 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
161 | String Data | 0x0237 | 567 | String 20 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
162 | String Data | 0x0238 | 568 | String 21 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
163 | String Data | 0x0239 | 569 | String 22 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
164 | String Data | 0x023A | 570 | String 23 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
165 | String Data | 0x023B | 571 | String 24 reverse connection alarm | U16 | FC03 | 1 |  |  | RO
166 | String Data | 0x0244 | 580 | String 17 abnormal alarm | U16 | FC03 | 1 |  |  | RO
167 | String Data | 0x0245 | 581 | String 18 abnormal alarm | U16 | FC03 | 1 |  |  | RO
168 | String Data | 0x0246 | 582 | String 19 abnormal alarm | U16 | FC03 | 1 |  |  | RO
169 | String Data | 0x0247 | 583 | String 20 abnormal alarm | U16 | FC03 | 1 |  |  | RO
170 | String Data | 0x0248 | 584 | String 21 abnormal alarm | U16 | FC03 | 1 |  |  | RO
171 | String Data | 0x0249 | 585 | String 22 abnormal alarm | U16 | FC03 | 1 |  |  | RO
172 | String Data | 0x024A | 586 | String 23 abnormal alarm | U16 | FC03 | 1 |  |  | RO
173 | String Data | 0x024B | 587 | String 24 abnormal alarm | U16 | FC03 | 1 |  |  | RO
174 | String Data | 0x05DC | 1500 | PV1 overvoltage | U16 | FC03 | 1 |  |  | RO
175 | String Data | 0x05DD | 1501 | PV2 overvoltage | U16 | FC03 | 1 |  |  | RO
176 | String Data | 0x05DE | 1502 | PV3 overvoltage | U16 | FC03 | 1 |  |  | RO
177 | String Data | 0x05DF | 1503 | PV4 overvoltage | U16 | FC03 | 1 |  |  | RO
178 | String Data | 0x05E0 | 1504 | PV5 overvoltage | U16 | FC03 | 1 |  |  | RO
179 | String Data | 0x05E1 | 1505 | PV6 overvoltage | U16 | FC03 | 1 |  |  | RO
180 | String Data | 0x05E2 | 1506 | PV7 overvoltage | U16 | FC03 | 1 |  |  | RO
181 | String Data | 0x05E3 | 1507 | PV8 overvoltage | U16 | FC03 | 1 |  |  | RO
182 | String Data | 0x05E4 | 1508 | PV9 overvoltage | U16 | FC03 | 1 |  |  | RO
183 | String Data | 0x05E5 | 1509 | PV10 overvoltage | U16 | FC03 | 1 |  |  | RO
184 | String Data | 0x05E6 | 1510 | PV11 overvoltage | U16 | FC03 | 1 |  |  | RO
185 | String Data | 0x05E7 | 1511 | PV12 overvoltage | U16 | FC03 | 1 |  |  | RO
186 | String Data | 0x05E8 | 1512 | PV13 overvoltage | U16 | FC03 | 1 |  |  | RO
187 | String Data | 0x05E9 | 1513 | PV14 overvoltage | U16 | FC03 | 1 |  |  | RO
188 | String Data | 0x05EA | 1514 | PV15 overvoltage | U16 | FC03 | 1 |  |  | RO
189 | String Data | 0x05EB | 1515 | PV16 overvoltage | U16 | FC03 | 1 |  |  | RO
190 | String Data | 0x05EC | 1516 | PV17 overvoltage | U16 | FC03 | 1 |  |  | RO
191 | String Data | 0x05ED | 1517 | PV18 overvoltage | U16 | FC03 | 1 |  |  | RO
192 | String Data | 0x05EE | 1518 | PV19 overvoltage | U16 | FC03 | 1 |  |  | RO
193 | String Data | 0x05EF | 1519 | PV20 overvoltage | U16 | FC03 | 1 |  |  | RO
194 | String Data | 0x05F0 | 1520 | PV21 overvoltage | U16 | FC03 | 1 |  |  | RO
195 | String Data | 0x05F1 | 1521 | PV22 overvoltage | U16 | FC03 | 1 |  |  | RO
196 | String Data | 0x05F2 | 1522 | PV23 overvoltage | U16 | FC03 | 1 |  |  | RO
197 | String Data | 0x05F3 | 1523 | PV24 overvoltage | U16 | FC03 | 1 |  |  | RO
198 | String Data | 0x05F4 | 1524 | PV25 overvoltage | U16 | FC03 | 1 |  |  | RO
199 | String Data | 0x05F5 | 1525 | PV26 overvoltage | U16 | FC03 | 1 |  |  | RO
200 | String Data | 0x05F6 | 1526 | PV27 overvoltage | U16 | FC03 | 1 |  |  | RO
201 | String Data | 0x05F7 | 1527 | PV28 overvoltage | U16 | FC03 | 1 |  |  | RO
202 | String Data | 0x05F8 | 1528 | PV29 overvoltage | U16 | FC03 | 1 |  |  | RO
203 | String Data | 0x05F9 | 1529 | PV30 overvoltage | U16 | FC03 | 1 |  |  | RO
204 | String Data | 0x05FA | 1530 | PV31 overvoltage | U16 | FC03 | 1 |  |  | RO
205 | String Data | 0x05FB | 1531 | PV32 overvoltage | U16 | FC03 | 1 |  |  | RO
--- Grid Data ---
206 | Grid Data | 0x1200 | 4608 | The inverter is in the initial power-on standby state. | U16 | FC03 | 1 |  |  | RO
207 | Grid Data | 0x1300 | 4864 | Inverter will stop operation by manually “stop” via | U16 | FC03 | 1 |  |  | RO
--- String Data ---
208 | String Data | 0x1388 | 5000 | Receive time synchronization setting of | U16 | FC03 | 1 |  |  | RO
209 | String Data | 0x1389 | 5001 | System clock: | U16 | FC03 | 1 |  |  | RO
210 | String Data | 0x138A | 5002 | System clock: | U16 | FC03 | 1 |  |  | RO
211 | String Data | 0x138B | 5003 | System clock: | U16 | FC03 | 1 |  |  | RO
212 | String Data | 0x138C | 5004 | System clock: | U16 | FC03 | 1 |  |  | RO
213 | String Data | 0x138D | 5005 | Start/Stop | U16 | FC03 | 1 |  |  | RO
214 | String Data | 0x138E | 5006 | 0xCF (Start) | U16 | FC03 | 1 |  |  | RO
215 | String Data | 0x138F | 5007 | 0xAA: Enable; | U16 | FC03 | 1 |  |  | RO
216 | String Data | 0x1390 | 5008 | See Appendix 6 | U16 | FC03 | 1 |  |  | RO
217 | String Data | 0x1391 | 5009 | Valid for inverters: | U16 | FC03 | 1 |  |  | RO
218 | String Data | 0x1392 | 5010 | 0xAA: Enable; | U16 | FC03 | 1 |  |  | RO
219 | String Data | 0x1393 | 5011 | 0-Rated active power | U16 | FC03 | 1 |  |  | RO
--- Output Data ---
220 | Output Data | 0x1394 | 5012 | Current | U16 | FC03 | 1 | A |  | RO
221 | Output Data | 0x1395 | 5013 | Current | U16 | FC03 | 1 | A |  | RO
222 | Output Data | 0x1396 | 5014 | 0- Internal | U16 | FC03 | 1 |  |  | RO
223 | Output Data | 0x1397 | 5015 | 0.1% | U16 | FC03 | 1 |  |  | RO
224 | Output Data | 0x1398 | 5016 | 0.01K | U16 | FC06 | 1 |  |  | WO
225 | Output Data | 0x139B | 5019 | -1000 - -800 | S16 | FC03 | 1 |  |  | RO
226 | Output Data | 0x139C | 5020 | 0xAA: Enable; | U16 | FC03 | 1 |  |  | RO
227 | Output Data | 0x139D | 5021 | 0.1 V | U16 | FC03 | 1 |  |  | RO
228 | Output Data | 0x139E | 5022 | 0.1 A | U16 | FC03 | 1 |  |  | RO
229 | Output Data | 0x139F | 5023 | 0.1 A | U16 | FC03 | 1 |  |  | RO
230 | Output Data | 0x13A0 | 5024 | 0.1 A | U16 | FC03 | 1 |  |  | RO
231 | Output Data | 0x13AB | 5035 | 0xAA: Enable; | U16 | FC03 | 1 |  |  | RO
232 | Output Data | 0x13AC | 5036 | 0x55: OFF, power | U16 | FC03 | 1 |  |  | RO
233 | Output Data | 0x13AD | 5037 | 0 - -1000 | S16 | FC03 | 1 |  |  | RO
234 | Output Data | 0x13AE | 5038 | Power | U16 | FC03 | 1 |  |  | RO
235 | Output Data | 0x13AF | 5039 | See Appendix 6 | U16 | FC03 | 1 |  |  | RO
236 | Output Data | 0x13B0 | 5040 | See Appendix 6 | S16 | FC03 | 1 |  |  | RO
237 | Output Data | 0x13B1 | 5041 | 0xAA: Enable; | U16 | FC03 | 1 |  |  | RO
238 | Output Data | 0x13B2 | 5042 | 0xAA: Enable; | U16 | FC03 | 1 |  |  | RO
239 | Output Data | 0x13B3 | 5043 | 0xAA: Enable; | U16 | FC03 | 1 |  |  | RO
--- Grid Data ---
240 | Grid Data | 0x13B4 | 5044 | Fault/Alarm code 1 | U16 | FC03 | 1 |  |  | RO
241 | Grid Data | 0x13B5 | 5045 | See Appendix 3 | U16 | FC03 | 1 |  |  | RO
--- MPPT Data ---
242 | MPPT Data | 0x13B8 | 5048 | 0 - 1, | U16 | FC03 | 1 |  |  | RO
243 | MPPT Data | 0x13B9 | 5049 | Curve B is valid | U16 | FC03 | 1 |  |  | RO
244 | MPPT Data | 0x13BA | 5050 | -500-500 | S16 | FC03 | 1 |  |  | RO
245 | MPPT Data | 0x13BB | 5051 | Curve A：0~500 | U16 | FC03 | 1 |  |  | RO
246 | MPPT Data | 0x13BC | 5052 | Curve A：500~1000 | U16 | FC03 | 1 |  |  | RO
247 | MPPT Data | 0x13BD | 5053 | Curve A：900~1000 | S16 | FC03 | 1 |  |  | RO
248 | MPPT Data | 0x13BE | 5054 | Curve A：900~1000 | S16 | FC03 | 1 |  |  | RO
249 | MPPT Data | 0x13C9 | 5065 | 0.1% | U16 | FC03 | 1 |  |  | RO
250 | MPPT Data | 0x13CA | 5066 | 0.1% | U16 | FC03 | 1 |  |  | RO
251 | MPPT Data | 0x13CB | 5067 | 0.1% | U16 | FC03 | 1 |  |  | RO
252 | MPPT Data | 0x13CC | 5068 | Uin | U16 | FC03 | 1 |  |  | RO
253 | MPPT Data | 0x13CD | 5069 | 0.1% | U16 | FC03 | 1 |  |  | RO
254 | MPPT Data | 0x13CE | 5070 | 0.1% | U16 | FC03 | 1 |  |  | RO
--- Grid Data ---
255 | Grid Data | 0x13CF | 5071 | 1 - 20000(0xFFFF: | U16 | FC03 | 1 |  |  | RO
256 | Grid Data | 0x13D0 | 5072 | Reserved | U16 | FC03 | 1 |  |  | RO
--- MPPT Data ---
257 | MPPT Data | 0x13D6 | 5078 | 0-1, | U16 | FC03 | 1 |  |  | RO
258 | MPPT Data | 0x13D7 | 5079 | -500-500, | S16 | FC03 | 1 |  |  | RO
259 | MPPT Data | 0x13D8 | 5080 | -500-500， | S16 | FC03 | 1 |  |  | RO
260 | MPPT Data | 0x13D9 | 5081 | 0.1% | U16 | FC03 | 1 |  |  | RO
261 | MPPT Data | 0x13DA | 5082 | 0.1% | U16 | FC03 | 1 |  |  | RO
262 | MPPT Data | 0x13DB | 5083 | 0.1% | U16 | FC03 | 1 |  |  | RO
263 | MPPT Data | 0x13DC | 5084 | 0.1% | U16 | FC03 | 1 |  |  | RO
264 | MPPT Data | 0x13DD | 5085 | Curve A is valid | U16 | FC03 | 1 |  |  | RO
265 | MPPT Data | 0x13DE | 5086 | (Ind) 0~ 500 | U16 | FC03 | 1 |  |  | RO
266 | MPPT Data | 0x13DF | 5087 | (Cap) 0~500 | U16 | FC03 | 1 |  |  | RO
267 | MPPT Data | 0x13EA | 5098 | 0.1% | U16 | FC03 | 1 |  |  | RO
268 | MPPT Data | 0x13EB | 5099 | 0.1% | U16 | FC03 | 1 |  |  | RO
269 | MPPT Data | 0x13EC | 5100 | 0.1% | U16 | FC03 | 1 |  |  | RO
270 | MPPT Data | 0x13ED | 5101 | 0.1% | U16 | FC03 | 1 |  |  | RO
271 | MPPT Data | 0x13EE | 5102 | Pin | U16 | FC03 | 1 |  |  | RO
272 | MPPT Data | 0x13EF | 5103 | 0.1% | U16 | FC03 | 1 |  |  | RO
273 | MPPT Data | 0x13F0 | 5104 | 0.1% | U16 | FC03 | 1 |  |  | RO
274 | MPPT Data | 0x13F1 | 5105 | 0-1, | U16 | FC03 | 1 |  |  | RO
--- Grid Data ---
275 | Grid Data | 0x13F9 | 5113 | 1min | U16 | FC03 | 1 |  |  | RO
276 | Grid Data | 0x13FA | 5114 | See Appendix 4 | U16 | FC03 | 1 |  |  | RO
--- MPPT Data ---
277 | MPPT Data | 0x13FB | 5115 | 0.1V | U16 | FC03 | 1 |  |  | RO
278 | MPPT Data | 0x13FC | 5116 | 0: Curve A | U16 | FC03 | 1 |  |  | RO
279 | MPPT Data | 0x13FD | 5117 | 0.1% | U16 | FC03 | 1 |  |  | RO
280 | MPPT Data | 0x13FE | 5118 | 0.1% | U16 | FC03 | 1 |  |  | RO
281 | MPPT Data | 0x13FF | 5119 | 0.1% | U16 | FC03 | 1 |  |  | RO
282 | MPPT Data | 0x1400 | 5120 | Curve A：800~1000 | S16 | FC03 | 1 |  |  | RO
283 | MPPT Data | 0x1401 | 5121 | Curve A：800~1000 | S16 | FC03 | 1 |  |  | RO
284 | MPPT Data | 0x1402 | 5122 | Curve A：800~1000 | S16 | FC03 | 1 |  |  | RO
285 | MPPT Data | 0x1403 | 5123 | 0.1% | U16 | FC03 | 1 |  |  | RO
286 | MPPT Data | 0x1404 | 5124 | 0.1% | U16 | FC03 | 1 |  |  | RO
287 | MPPT Data | 0x1405 | 5125 | 0.1% | U16 | FC03 | 1 |  |  | RO
288 | MPPT Data | 0x1406 | 5126 | 0xAA Yes | U16 | FC03 | 1 |  |  | RO
289 | MPPT Data | 0x140A | 5130 | 0.1V | U16 | FC03 | 1 |  |  | RO
290 | MPPT Data | 0x140B | 5131 | 0.1A | U16 | FC03 | 1 |  |  | RO
291 | MPPT Data | 0x140C | 5132 | 0.1V | U16 | FC03 | 1 |  |  | RO
292 | MPPT Data | 0x140D | 5133 | 0.1A | U16 | FC03 | 1 |  |  | RO
293 | MPPT Data | 0x140E | 5134 | 0.1V | U16 | FC03 | 1 |  |  | RO
--- Grid Data ---
294 | Grid Data | 0x140F | 5135 | 0: Curve A; | U16 | FC03 | 1 |  |  | RO
295 | Grid Data | 0x1410 | 5136 | 0.1% | U16 | FC03 | 1 |  |  | RO
296 | Grid Data | 0x1411 | 5137 | 0.1% | U16 | FC03 | 1 |  |  | RO
297 | Grid Data | 0x1412 | 5138 | If support Overload | U16 | FC03 | 1 |  |  | RO
298 | Grid Data | 0x1413 | 5139 | 0.1% | U16 | FC03 | 1 |  |  | RO
299 | Grid Data | 0x1414 | 5140 | If support Overload | U16 | FC03 | 1 |  |  | RO
300 | Grid Data | 0x1415 | 5141 | 0.1% | U16 | FC03 | 1 |  |  | RO
301 | Grid Data | 0x1416 | 5142 | If support Overload | U16 | FC03 | 1 |  |  | RO
302 | Grid Data | 0x1417 | 5143 | 0.1% | U16 | FC03 | 1 |  |  | RO
303 | Grid Data | 0x1418 | 5144 | If support Overload | U16 | FC03 | 1 |  |  | RO
304 | Grid Data | 0x1419 | 5145 | 0.1% | U16 | FC03 | 1 |  |  | RO
305 | Grid Data | 0x141A | 5146 | 0.1% | U16 | FC03 | 1 |  |  | RO
306 | Grid Data | 0x141B | 5147 | 0xAA Yes | U16 | FC03 | 1 |  |  | RO
307 | Grid Data | 0x141C | 5148 | Reserved | U16 | FC03 | 1 |  |  | RO
308 | Grid Data | 0x141D | 5149 | 0.1V | U16 | FC03 | 1 |  |  | RO
309 | Grid Data | 0x141E | 5150 | 2: PID Recover | U16 | FC03 | 1 |  |  | RO
310 | Grid Data | 0x141F | 5151 | 432:PID resistance | U16 | FC03 | 1 |  |  | RO
311 | Grid Data | 0x1420 | 5152 | Reserved | U16 | FC03 | 1 |  |  | RO
312 | Grid Data | 0x1500 | 5376 | No | U16 | FC03 | 1 |  |  | RO
313 | Grid Data | 0x1600 | 5632 | The inverter is initializing and synchronizing with | U16 | FC03 | 1 |  |  | RO
--- String Data ---
314 | String Data | 0x1B65 | 7013 | 0.01A | U16 | FC03 | 1 |  |  | RO
315 | String Data | 0x1B66 | 7014 | 0.01A | U16 | FC03 | 1 |  |  | RO
316 | String Data | 0x1B67 | 7015 | 0.01A | U16 | FC03 | 1 |  |  | RO
317 | String Data | 0x1B68 | 7016 | 0.01A | U16 | FC03 | 1 |  |  | RO
318 | String Data | 0x1B69 | 7017 | 0.01A | U16 | FC03 | 1 |  |  | RO
319 | String Data | 0x1B6A | 7018 | 0.01A | U16 | FC03 | 1 |  |  | RO
320 | String Data | 0x1B6B | 7019 | 0.01A | U16 | FC03 | 1 |  |  | RO
321 | String Data | 0x1B6C | 7020 | 0.01A | U16 | FC03 | 1 |  |  | RO
322 | String Data | 0x1B6D | 7021 | 0.01A | U16 | FC03 | 1 |  |  | RO
323 | String Data | 0x1B6E | 7022 | 0.01A | U16 | FC03 | 1 |  |  | RO
324 | String Data | 0x1B6F | 7023 | 0.01A | U16 | FC03 | 1 |  |  | RO
325 | String Data | 0x1B70 | 7024 | 0.01A | U16 | FC03 | 1 |  |  | RO
326 | String Data | 0x1B71 | 7025 | 0.01A | U16 | FC03 | 1 |  |  | RO
327 | String Data | 0x1B72 | 7026 | 0.01A | U16 | FC03 | 1 |  |  | RO
328 | String Data | 0x1B73 | 7027 | 0.01A | U16 | FC03 | 1 |  |  | RO
329 | String Data | 0x1B74 | 7028 | 0.01A | U16 | FC03 | 1 |  |  | RO
330 | String Data | 0x1B75 | 7029 | 0.01A | U16 | FC03 | 1 |  |  | RO
331 | String Data | 0x1B76 | 7030 | 0.01A | U16 | FC03 | 1 |  |  | RO
332 | String Data | 0x1B77 | 7031 | 0.01A | U16 | FC03 | 1 |  |  | RO
333 | String Data | 0x1B78 | 7032 | 0.01A | U16 | FC03 | 1 |  |  | RO
334 | String Data | 0x1B79 | 7033 | 0.01A | U16 | FC03 | 1 |  |  | RO
335 | String Data | 0x1B7A | 7034 | 0.01A | U16 | FC03 | 1 |  |  | RO
336 | String Data | 0x1B7B | 7035 | 0.01A | U16 | FC03 | 1 |  |  | RO
337 | String Data | 0x1B7C | 7036 | 0.01A | U16 | FC03 | 1 |  |  | RO
--- MPPT Data ---
338 | MPPT Data | 0x2430 | 9264 | Default: 0-55 | U16 | FC03 | 1 |  |  | RO
339 | MPPT Data | 0x2431 | 9265 | Default: 0-66 | U16 | FC03 | 1 |  |  | RO
340 | MPPT Data | 0x2432 | 9266 | 2;1 | U16 | FC03 | 1 |  |  | RO
341 | MPPT Data | 0x2433 | 9267 | 2;1 | U16 | FC03 | 1 |  |  | RO
342 | MPPT Data | 0x2434 | 9268 | 2;1 | U16 | FC03 | 1 |  |  | RO
343 | MPPT Data | 0x2435 | 9269 | Default: 0-165 | U16 | FC03 | 1 |  |  | RO
344 | MPPT Data | 0x2436 | 9270 | Default: 0-187 | U16 | FC03 | 1 |  |  | RO
345 | MPPT Data | 0x2437 | 9271 | Default: 0-220 | U16 | FC03 | 1 |  |  | RO
346 | MPPT Data | 0x243C | 9276 | Default: 0-66 | U16 | FC03 | 1 |  |  | RO | (Germany, ¦ Belgium, ¦ Australia: ¦ 0-60) ¦ -30~30 ¦ SG7.0RT
347 | MPPT Data | 0x243D | 9277 | Default: 0-1100 | U16 | FC03 | 1 |  |  | RO
348 | MPPT Data | 0x243E | 9278 | Default: 0-1100 | U16 | FC03 | 1 |  |  | RO | (Germany, ¦ Belgium, ¦ Australia: ¦ 0-1000) ¦ Default: 0-33 ¦ (Germany, ¦ Belgium, ¦ Australia: ¦ 0-30) ¦ -15~15 ¦ SG4.0RT
--- Grid Data ---
349 | Grid Data | 0x2500 | 9472 | Unconfirmed | U16 | FC03 | 1 |  |  | RO
--- MPPT Data ---
350 | MPPT Data | 0x2C00 | 11264 | -218~218 | U16 | FC03 | 1 |  |  | RO
351 | MPPT Data | 0x2C01 | 11265 | -264~264 | U16 | FC03 | 1 |  |  | RO
352 | MPPT Data | 0x2C02 | 11266 | -330~330 | U16 | FC03 | 1 |  |  | RO
353 | MPPT Data | 0x2C03 | 11267 | -625-625 | U16 | FC03 | 1 |  |  | RO
354 | MPPT Data | 0x2C06 | 11270 | -660~660 | U16 | FC03 | 1 |  |  | RO
355 | MPPT Data | 0x2C0A | 11274 | -198~198 | U16 | FC03 | 1 |  |  | RO
356 | MPPT Data | 0x2C0B | 11275 | -330~330 | U16 | FC03 | 1 |  |  | RO
357 | MPPT Data | 0x2C0C | 11276 | -1500~1500 | U16 | FC03 | 1 |  |  | RO
358 | MPPT Data | 0x2C0F | 11279 | Default: 0-1100 | U16 | FC03 | 1 |  |  | RO | If country is ¦ Germany，range is ¦ 0-1000 ¦ Default: 0-110 ¦ If country is ¦ Germany，range ¦ is0-100 ¦ -50-50 ¦ SG10KTL-MT
359 | MPPT Data | 0x2C10 | 11280 | -179~179 | U16 | FC03 | 1 |  |  | RO
360 | MPPT Data | 0x2C11 | 11281 | -1500~1500 | U16 | FC03 | 1 |  |  | RO
361 | MPPT Data | 0x2C12 | 11282 | -660~660 | U16 | FC03 | 1 |  |  | RO
362 | MPPT Data | 0x2C13 | 11283 | -1500~1500 | U16 | FC03 | 1 |  |  | RO
363 | MPPT Data | 0x2C15 | 11285 | -165~165 | U16 | FC03 | 1 |  |  | RO
364 | MPPT Data | 0x2C22 | 11298 | -450~450 | U16 | FC03 | 1 |  |  | RO
--- Grid Data ---
365 | Grid Data | 0x5500 | 21760 | If a fault occurs, inverter will automatically stop | U16 | FC03 | 1 |  |  | RO
366 | Grid Data | 0x8000 | 32768 | Inverter is stopped. | U16 | FC03 | 1 |  |  | RO
367 | Grid Data | 0x8100 | 33024 | The inverter derates actively due to environmental | U16 | FC03 | 1 |  |  | RO
368 | Grid Data | 0x8200 | 33280 | The inverter runs according to the scheduling | U16 | FC03 | 1 |  |  | RO
369 | Grid Data | 0x9100 | 37120 | Warning information is detected. | U16 | FC03 | 1 |  |  | RO

## Status_Definitions
Code | Name | Description | Bit_Definition
2 | PID Recover | PID Recover
4 | Anti-PID | Anti-PID
8 | PID Abnormity | PID Abnormity
0 | After being energized, inverter tracks t | After being energized, inverter tracks the PV arrays’
32768 | Inverter is stopped. | Inverter is stopped.
4864 | Inverter will stop operation by manually | Inverter will stop operation by manually “stop” via
5376 | Standby | Standby
5120 | Inverter enters standby mode when DC sid | Inverter enters standby mode when DC side input is
4608 | The inverter is in the initial power-on | The inverter is in the initial power-on standby state.
5632 | The inverter is initializing and synchro | The inverter is initializing and synchronizing with
1 | Key stop | Key stop
3 | Public | Public
5 | Standby | Standby
NOTE: Add/edit status codes. Descriptions used in Stage 2 InverterMode mapping.

## Error_Fault_Codes
Register | Bit | Error_No | Description | Notes
2017 |  |  | 8-7
2017 |  |  | 8-12
051 |  |  | Add Inverter fault/alarm code:
2017 |  |  | 9-20
2017 |  |  | 9-26
2017 |  |  | 10-19
2017 |  |  | 10-24
2017 |  |  | 11-2
2017 |  |  | 11-18
2017 |  |  | 11-25
2017 |  |  | 12-22
2018 |  |  | 1-18
2018 |  |  | 03-17
2018 |  |  | 04-24
2018 |  |  | 05-24
2018 |  |  | 06-15
2018 |  |  | 8-17
2018 |  |  | 08-31
2018 |  |  | 09-18
2018 |  |  | 11-7
2019 |  |  | 4-9
2019 |  |  | 5-23
2020 |  |  | 6-17
432 |  |  | PID resistance
433 |  |  | PID function
434 |  |  | PID
002 |  |  | 0x0002
003 |  |  | 0x0003
004 |  |  | 0x0004
005 |  |  | 0x0005
007 |  |  | 0x0007
008 |  |  | 0x0008
009 |  |  | 0x0009
010 |  |  | 0x000A
011 |  |  | 0x000B
012 |  |  | 0x000C
013 |  |  | 0x000D
014 |  |  | 0x000E
10 |  |  | minute grid overvoltage
015 |  |  | 0x000F
016 |  |  | 0x0010
017 |  |  | 0x0011
019 |  |  | 0x0013
020 |  |  | 0x0014
021 |  |  | 0x0015
022 |  |  | 0x0016
023 |  |  | 0x0017
024 |  |  | 0x0018
025 |  |  | 0x0019
030 |  |  | 0x001E
031 |  |  | 0x001F
032 |  |  | 0x0020
033 |  |  | 0x0021
034 |  |  | 0x0022
036 |  |  | 0x0024
037 |  |  | 0x0025
038 |  |  | 0x0026
039 |  |  | 0x0027
040 |  |  | 0x0028
041 |  |  | 0x0029
042 |  |  | 0x002A
043 |  |  | 0x002B
044 |  |  | 0x002C
045 |  |  | 0x002D
046 |  |  | 0x002E
047 |  |  | 0x002F
048 |  |  | 0x0030
049 |  |  | 0x0031
050 |  |  | 0x0032
053 |  |  | 0x0035
054 |  |  | 0x0036
055 |  |  | 0x0037
056 |  |  | 0x0038
059 |  |  | 0x003B
060 |  |  | 0x003C
070 |  |  | 0x0046
071 |  |  | 0x0047
072 |  |  | 0x0048
074 |  |  | 0x004A
076 |  |  | 0x004C
078 |  |  | 0x004E
079 |  |  | 0x004F
080 |  |  | 0x0050
081 |  |  | 0x0051
087 |  |  | 0x0057
088 |  |  | 0x0058
089 |  |  | 0x0059
105 |  |  | 0x0069
106 |  |  | 0x006A
116 |  |  | 0x0074
117 |  |  | 0x0075
220 |  |  | 0x00DC
221 |  |  | 0x00DD
222 |  |  | 0x00DE
223 |  |  | 0x00DF
224 |  |  | 0x00E0
225 |  |  | 0x00E1
226 |  |  | 0x00E2
227 |  |  | 0x00E3
514 |  |  | 0x0202
532 |  |  | 0x0214
533 |  |  | 0x0215
534 |  |  | 0x0216
535 |  |  | 0x0217
536 |  |  | 0x0218
537 |  |  | 0x0219
538 |  |  | 0x021A
539 |  |  | 0x021B
540 |  |  | 0x021C
541 |  |  | 0x021D
542 |  |  | 0x021E
543 |  |  | 0x021F
544 |  |  | 0x0220
545 |  |  | 0x0221
546 |  |  | 0x0222
547 |  |  | 0x0223
564 |  |  | 0x0234
565 |  |  | 0x0235
566 |  |  | 0x0236
567 |  |  | 0x0237
568 |  |  | 0x0238
569 |  |  | 0x0239
570 |  |  | 0x023A
571 |  |  | 0x023B
548 |  |  | 0x0224
549 |  |  | 0x0225
550 |  |  | 0x0226
551 |  |  | 0x0227
552 |  |  | 0x0228
553 |  |  | 0x0229
554 |  |  | 0x022A
555 |  |  | 0x022B
556 |  |  | 0x022C
557 |  |  | 0x022D
558 |  |  | 0x022E
559 |  |  | 0x022F
560 |  |  | 0x0230
561 |  |  | 0x0231
562 |  |  | 0x0232
563 |  |  | 0x0233
580 |  |  | 0x0244
581 |  |  | 0x0245
582 |  |  | 0x0246
583 |  |  | 0x0247
584 |  |  | 0x0248
585 |  |  | 0x0249
586 |  |  | 0x024A
587 |  |  | 0x024B
448 |  |  | 0x01C0
449 |  |  | 0x01C1
450 |  |  | 0x01C2
451 |  |  | 0x01C3
452 |  |  | 0x01C4
453 |  |  | 0x01C5
454 |  |  | 0x01C6
455 |  |  | 0x01C7
456 |  |  | 0x01C8
457 |  |  | 0x01C9
458 |  |  | 0x01CA
459 |  |  | 0x01CB
460 |  |  | 0x01CC
461 |  |  | 0x01CD
462 |  |  | 0x01CE
463 |  |  | 0x01CF
464 |  |  | 0x01D0
465 |  |  | 0x01D1
466 |  |  | 0x01D2
467 |  |  | 0x01D3
468 |  |  | 0x01D4
469 |  |  | 0x01D5
470 |  |  | 0x01D6
471 |  |  | 0x01D7
1500 |  |  | 0x05DC
1501 |  |  | 0x05DD
1502 |  |  | 0x05DE
1503 |  |  | 0x05DF
1504 |  |  | 0x05E0
1505 |  |  | 0x05E1
1506 |  |  | 0x05E2
1507 |  |  | 0x05E3
1508 |  |  | 0x05E4
1509 |  |  | 0x05E5
1510 |  |  | 0x05E6
1511 |  |  | 0x05E7
1512 |  |  | 0x05E8
1513 |  |  | 0x05E9
1514 |  |  | 0x05EA
1515 |  |  | 0x05EB
1516 |  |  | 0x05EC
1517 |  |  | 0x05ED
1518 |  |  | 0x05EE
1519 |  |  | 0x05EF
1520 |  |  | 0x05F0
1521 |  |  | 0x05F1
1522 |  |  | 0x05F2
1523 |  |  | 0x05F3
1524 |  |  | 0x05F4
1525 |  |  | 0x05F5
1526 |  |  | 0x05F6
1527 |  |  | 0x05F7
1528 |  |  | 0x05F8
1529 |  |  | 0x05F9
1530 |  |  | 0x05FA
1531 |  |  | 0x05FB
432 |  |  | 0x01B0
433 |  |  | 0x01B1
434 |  |  | 0x01B2
4 |  |  | 0-1100
0 |  |  | 330
3 |  |  | 0-1100
0 |  |  | 110
0 |  |  | 132
0 |  |  | 165
0 |  |  | 220
5 |  |  | 0-1100
0 |  |  | 396
0 |  |  | 440
0 |  |  | 550
0 |  |  | 660
8 |  |  | 0-1100
3 |  |  | 3;3;2
0 |  |  | 1000
0 |  |  | 300
0 |  |  | 1100
0 |  |  | 363
0 |  |  | 360
3 |  |  | 0-1000
0 |  |  | 333
0 |  |  | 495
4 |  |  | 0-1000
0 |  |  | 340
14 |  |  | 0-1100
18 |  |  | 0-1000
0 |  |  | 800
1 |  |  | 0-1100
1 |  |  | Default: 0-1100
2 |  |  | 0-1100
0 |  |  | 187
0 |  |  | 880
1 |  |  | 0-1000
0 |  |  | 1110
0 |  |  | 1250
2 |  |  | 0-1000
0 |  |  | 299
2 |  |  | 0-1110
0 |  |  | 2500
2 |  |  | 0-1250
0 |  |  | 275
0 |  |  | 750
0 |  |  | 1000)
0 |  |  | 30)
1 |  |  | Default: 0-44
0 |  |  | 40)
1 |  |  | Default: 0-55
0 |  |  | 50)
1 |  |  | Default: 0-66
0 |  |  | 60)
0 |  |  | 70; Australia:
0 |  |  | 69.99)
0 |  |  | 80)
0 |  |  | 110)
0 |  |  | 120)
2 |  |  | Default: 0-165
0 |  |  | 150)
2 |  |  | Default: 0-187
0 |  |  | 170)
2 |  |  | Default: 0-220
0 |  |  | 200)

## Grid_Codes
Code_Hex | Description
(No regulation codes detected from PDF)
NOTE: Register 0x5101 - Grid regulation/country code setting

## Fuse_Open_Data
Bit | Description | Value_Definition
(Not detected from PDF)
NOTE: Registers 0x1034~0x1035 — PV string fuse open status bits

## Status_Bits_03FC
Bit | Description | Value_Definition
(Not detected from PDF)
NOTE: Registers 0x03FC~03FD — DEA-AVM inverter action/run-state bits

## Fuse_Check_Mask
Bit | Description | Value_Definition
(Not detected from PDF)
NOTE: Registers 0x513D~0x513E — PV string fuse check enable/disable mask

## REMS_Error_Bits
Bit | Description | Value_Definition
(Not detected from PDF)
NOTE: REMS Error Code register — bit-field inverter alarm flags

## REMS_Registers
No | Description | Length_Bytes | Unit
(Not detected from PDF)
NOTE: REMS protocol register layout (function code 0x7E)