## Registers
No | Section | Address_Hex | Address_Dec | Definition | Data_Type | FC_Code | Registers | Unit | Scale_Factor | R/W | Description

## Status_Definitions
Code | Name | Description | Bit_Definition
0 | INITIAL | Initial mode
1 | STANDBY | Standby mode
3 | ON_GRID | On-Grid mode
4 | OFF_GRID | Off-Grid mode
5 | FAULT | Fault mode
9 | SHUTDOWN | Shutdown mode
NOTE: Add/edit status codes. Descriptions used in Stage 2 InverterMode mapping.

## Error_Fault_Codes
Register | Bit | Error_No | Description | Notes
(No error codes detected from PDF)

## Grid_Codes
Code_Hex | Description
(No regulation codes detected from PDF)
NOTE: Register 0x5101 - Grid regulation/country code setting

## Fuse_Open_Data
Bit | Description | Value_Definition
(Not detected from PDF)
NOTE: Registers 0x1034~0x1035 — PV string fuse open status bits

## Status_Bits_03FC
Bit | Description | Value_Definition
(Not detected from PDF)
NOTE: Registers 0x03FC~03FD — DEA-AVM inverter action/run-state bits

## Fuse_Check_Mask
Bit | Description | Value_Definition
(Not detected from PDF)
NOTE: Registers 0x513D~0x513E — PV string fuse check enable/disable mask

## REMS_Error_Bits
Bit | Description | Value_Definition
(Not detected from PDF)
NOTE: REMS Error Code register — bit-field inverter alarm flags

## REMS_Registers
No | Description | Length_Bytes | Unit
(Not detected from PDF)
NOTE: REMS protocol register layout (function code 0x7E)