## Registers
No | Section | Address_Hex | Address_Dec | Definition | Data_Type | FC_Code | Registers | Unit | Scale_Factor | R/W | Description
--- Device Information ---
1 | Device Information | 0x0026 | 38 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-330 ¦ -150-150 ¦ SG10KTL
2 | Device Information | 0x0029 | 41 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-110 ¦ -50-50 ¦ SG12KTL
3 | Device Information | 0x0028 | 40 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-132 ¦ -60-60 ¦ SG15KTL
4 | Device Information | 0x002A | 42 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-165 ¦ -75-75 ¦ SG20KTL
5 | Device Information | 0x002C | 44 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-220 ¦ -100-100 ¦ SG30KU
6 | Device Information | 0x002D | 45 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-330 ¦ -150-150 ¦ SG36KTL
7 | Device Information | 0x002E | 46 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-396 ¦ -180-180 ¦ SG36KU
8 | Device Information | 0x002F | 47 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-396 ¦ -180-180 ¦ SG40KTL
9 | Device Information | 0x0135 | 309 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-396 ¦ -180-180 ¦ SG40KTL-M
10 | Device Information | 0x011B | 283 | 0-1100 |  | FC03 | 3 |  |  | RO | 0-440 ¦ -200-200 ¦ SG50KTL-M
11 | Device Information | 0x011B | 283 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-440 ¦ -200-200 ¦ SG50KTL-M
12 | Device Information | 0x0131 | 305 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-550 ¦ -250-250 ¦ SG60KTL-M
13 | Device Information | 0x0136 | 310 | 0-1100 |  | FC03 | 4 |  |  | RO | 0-660 ¦ -300-300 ¦ SG60KU
14 | Device Information | 0x0136 | 310 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-660 ¦ -300-300 ¦ SG60KU
15 | Device Information | 0x0141 | 321 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-660 ¦ -300-300 ¦ SG30KTL-M
16 | Device Information | 0x0070 | 112 | 3;3;2 |  | FC03 | 3 |  |  | RO | 0-1000 ¦ 0-300 ¦ -150-150 ¦ SG30KTL-M-V31 ¦ 3;3;2 ¦ 0-1000 ¦ 0-300 ¦ -150-150 ¦ SG33KTL-M ¦ 0x0134 ¦ 3 ¦ 3;3;2
17 | Device Information | 0x0134 | 308 | 3;3;2 |  | FC03 | 3 |  |  | RO | 0-1000 ¦ 0-300 ¦ -150-150 ¦ SG33KTL-M ¦ 3;3;2 ¦ 0-1100 ¦ 0-363 ¦ -165-165 ¦ SG36KTL-M ¦ 0x74 ¦ 3 ¦ 3;3;2
18 | Device Information | 0x0074 | 116 | 3;3;2 |  | FC03 | 3 |  |  | RO | 0-1100 ¦ 0-363 ¦ -165-165 ¦ SG36KTL-M ¦ 3;3;2 ¦ 0-1000 ¦ 0-360 ¦ -180-180 ¦ SG33K3J ¦ 0x013D ¦ 3 ¦ 3
19 | Device Information | 0x013D | 317 | 3;3;2 |  | FC03 | 3 |  |  | RO | 0-1000 ¦ 0-360 ¦ -180-180 ¦ SG33K3J ¦ 3 ¦ 0-1000 ¦ 0-333 ¦ -166-166 ¦ SG49K5J ¦ 0x0137
20 | Device Information | 0x0137 | 311 | 0-1000 |  | FC03 | 3 |  |  | RO | 0-333 ¦ -166-166 ¦ SG49K5J
21 | Device Information | 0x0137 | 311 | 0-1000 |  | FC03 | 1 |  |  | RO | 0-333 ¦ -166-166 ¦ SG49K5J
22 | Device Information | 0x0072 | 114 | 0-1000 |  | FC03 | 1 |  |  | RO | 0-495 ¦ -247-247 ¦ SG34KJ
23 | Device Information | 0x0073 | 115 | 0-1000 |  | FC03 | 1 |  |  | RO | 0-340 ¦ -170-170 ¦ LP_P34KSG
24 | Device Information | 0x011B | 283 | 0-1000 |  | FC03 | 4 |  |  | RO | 0-340 ¦ -170-170 ¦ SG50KTL-M-20
25 | Device Information | 0x010F | 271 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-550 ¦ -250-250 ¦ SG60KTL
26 | Device Information | 0x0138 | 312 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-660 ¦ -300-300 ¦ SG80KTL
27 | Device Information | 0x0138 | 312 | 0-1000 |  | FC03 | 1 |  |  | RO | 0-800 ¦ -400-400 ¦ SG80KTL-20
28 | Device Information | 0x0132 | 306 | 0-1000 |  | FC03 | 1 |  |  | RO | 0-800 ¦ -400-400 ¦ SG60KU-M
29 | Device Information | 0x0147 | 327 | 0-1100 |  | FC03 | 4 |  |  | RO | 0-660 ¦ -300-300 ¦ SG5KTL-MT
30 | Device Information | 0x0147 | 327 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-660 ¦ -300-300 ¦ SG5KTL-MT
31 | Device Information | 0x0148 | 328 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-55 ¦ -25-25 ¦ SG6KTL-MT
32 | Device Information | 0x013F | 319 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-66 ¦ -30-30 ¦ SG8KTL-M
33 | Device Information | 0x013E | 318 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-88 ¦ -40-40 ¦ SG10KTL-M
34 | Device Information | 0x2C0F | 11279 | Default: 0-1100 |  | FC03 | 1 |  |  | RO | If country is ¦ Germany，range is ¦ 0-1000 ¦ Default: 0-110 ¦ If country is ¦ Germany，range ¦ is0-100 ¦ -50-50 ¦ SG10KTL-MT
35 | Device Information | 0x013C | 316 | 0-1100 |  | FC03 | 2 |  |  | RO | 0-110 ¦ -50-50 ¦ SG12KTL-M ¦ 2 ¦ 2 ¦ 0-1100 ¦ 0-132 ¦ -60-60 ¦ SG15KTL-M ¦ 0x0142 ¦ 2 ¦ 2
36 | Device Information | 0x013C | 316 | 0-1100 |  | FC03 | 2 |  |  | RO | 0-110 ¦ -50-50 ¦ SG12KTL-M ¦ 2 ¦ 0-1100 ¦ 0-132 ¦ -60-60 ¦ SG15KTL-M ¦ 0x0142 ¦ 2 ¦ 2 ¦ 0-1100
37 | Device Information | 0x0142 | 322 | 0-1100 |  | FC03 | 2 |  |  | RO | 0-132 ¦ -60-60 ¦ SG15KTL-M ¦ 2 ¦ 2 ¦ 0-1100 ¦ 0-165 ¦ -75-75 ¦ SG17KTL-M ¦ 0x0149 ¦ 2 ¦ 2
38 | Device Information | 0x0142 | 322 | 0-1100 |  | FC03 | 2 |  |  | RO | 0-132 ¦ -60-60 ¦ SG15KTL-M ¦ 2 ¦ 0-1100 ¦ 0-165 ¦ -75-75 ¦ SG17KTL-M ¦ 0x0149 ¦ 2 ¦ 2 ¦ 0-1100
39 | Device Information | 0x0149 | 329 | 0-1100 |  | FC03 | 2 |  |  | RO | 0-165 ¦ -75-75 ¦ SG17KTL-M ¦ 2 ¦ 2 ¦ 0-1100 ¦ 0-187 ¦ -85-85 ¦ SG20KTL-M ¦ 0x0143 ¦ 2 ¦ 2
40 | Device Information | 0x0149 | 329 | 0-1100 |  | FC03 | 2 |  |  | RO | 0-165 ¦ -75-75 ¦ SG17KTL-M ¦ 2 ¦ 0-1100 ¦ 0-187 ¦ -85-85 ¦ SG20KTL-M ¦ 0x0143 ¦ 2 ¦ 2 ¦ 0-1100
41 | Device Information | 0x0143 | 323 | 0-1100 |  | FC03 | 2 |  |  | RO | 0-187 ¦ -85-85 ¦ SG20KTL-M ¦ 2 ¦ 2 ¦ 0-1100 ¦ 0-220 ¦ -100-100 ¦ Public ¦ SG80KTL-M ¦ 0x0139
42 | Device Information | 0x0143 | 323 | 0-1100 |  | FC03 | 2 |  |  | RO | 0-187 ¦ -85-85 ¦ SG20KTL-M ¦ 2 ¦ 0-1100 ¦ 0-220 ¦ -100-100 ¦ Public ¦ SG80KTL-M ¦ 0x0139
43 | Device Information | 0x0139 | 313 | 0-1100 |  | FC03 | 2 |  |  | RO | 0-220 ¦ -100-100 ¦ Public ¦ SG80KTL-M
44 | Device Information | 0x0139 | 313 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-220 ¦ -100-100 ¦ Public ¦ SG80KTL-M
45 | Device Information | 0x014C | 332 | 0-1100 |  | FC03 | 4 |  |  | RO | 0-880 ¦ -400-400 ¦ SG111HV
46 | Device Information | 0x014C | 332 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-880 ¦ -400-400 ¦ SG111HV
47 | Device Information | 0x013B | 315 | 0-1000 |  | FC03 | 1 |  |  | RO | 0-1110 ¦ -555-555 ¦ SG125HV ¦ 1 ¦ 1 ¦ 0-1000 ¦ 0-1250 ¦ -625-625 ¦ SG125HV-20 ¦ 0x2C03 ¦ 1 ¦ 1
48 | Device Information | 0x013B | 315 | 0-1000 |  | FC03 | 1 |  |  | RO | 0-1110 ¦ -555-555 ¦ SG125HV ¦ 1 ¦ 0-1000 ¦ 0-1250 ¦ -625-625 ¦ SG125HV-20 ¦ 0x2C03 ¦ 1 ¦ 1 ¦ 0-1000
49 | Device Information | 0x2C03 | 11267 | 0-1000 |  | FC03 | 1 |  |  | RO | 0-1250 ¦ -625-625 ¦ SG125HV-20 ¦ 1 ¦ 1 ¦ 0-1000 ¦ 0-1250 ¦ -625-625 ¦ SG30CX ¦ 0x2C10
50 | Device Information | 0x2C03 | 11267 | 0-1000 |  | FC03 | 1 |  |  | RO | 0-1250 ¦ -625-625 ¦ SG125HV-20 ¦ 1 ¦ 0-1000 ¦ 0-1250 ¦ -625-625 ¦ SG30CX ¦ 0x2C10
51 | Device Information | 0x2C10 | 11280 | 0-1000 |  | FC03 | 1 |  |  | RO | 0-1250 ¦ -625-625 ¦ SG30CX
52 | Device Information | 0x2C10 | 11280 | 0-1000 |  | FC03 | 1 |  |  | RO | 0-1250 ¦ -625-625 ¦ SG30CX
53 | Device Information | 0x2C00 | 11264 | 0-1000 |  | FC03 | 1 |  |  | RO | 0-299 ¦ -179~179 ¦ SG33CX
54 | Device Information | 0x2C0A | 11274 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-363 ¦ -218~218 ¦ SG36CX-US
55 | Device Information | 0x2C01 | 11265 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-330 ¦ -198~198 ¦ SG40CX
56 | Device Information | 0x2C02 | 11266 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-440 ¦ -264~264 ¦ SG50CX
57 | Device Information | 0x2C0B | 11275 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-550 ¦ -330~330 ¦ SG60CX-US
58 | Device Information | 0x2C06 | 11270 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-550 ¦ -330~330 ¦ SG110CX
59 | Device Information | 0x2C0C | 11276 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-1100 ¦ -660~660 ¦ SG250HX
60 | Device Information | 0x2C11 | 11281 | 0-1110 |  | FC03 | 1 |  |  | RO | 0-2500 ¦ -1500~1500 ¦ SG250HX-US
61 | Device Information | 0x2C12 | 11282 | 0-1110 |  | FC03 | 1 |  |  | RO | 0-2500 ¦ -1500~1500 ¦ SG100CX
62 | Device Information | 0x2C12 | 11282 | 0-1000 |  | FC03 | 1 |  |  | RO | 0-1000 ¦ -660~660 ¦ SG100CX-JP
63 | Device Information | 0x2C13 | 11283 | 0-1000 |  | FC03 | 1 |  |  | RO | 0-1000 ¦ -660~660 ¦ SG250HX-IN
64 | Device Information | 0x2C15 | 11285 | 0-1250 |  | FC03 | 1 |  |  | RO | 0-2500 ¦ -1500~1500 ¦ SG25CX-SA
65 | Device Information | 0x2C22 | 11298 | 0-1100 |  | FC03 | 1 |  |  | RO | 0-275 ¦ -165~165 ¦ SG75CX
66 | Device Information | 0x243D | 9277 | 0-1000 |  | FC03 | 2 |  |  | RO | 0-750 ¦ -450~450 ¦ SG3.0RT
67 | Device Information | 0x243E | 9278 | Default: 0-1100 |  | FC03 | 1 |  |  | RO | (Germany, ¦ Belgium, ¦ Australia: ¦ 0-1000) ¦ Default: 0-33 ¦ (Germany, ¦ Belgium, ¦ Australia: ¦ 0-30) ¦ -15~15 ¦ SG4.0RT
68 | Device Information | 0x2430 | 9264 | Default: 0-44 |  | FC03 | 1 |  |  | RO | (Germany, ¦ Belgium, ¦ Australia: ¦ 0-40) ¦ -20~20 ¦ SG5.0RT
69 | Device Information | 0x2431 | 9265 | Default: 0-55 |  | FC03 | 1 |  |  | RO | (Germany, ¦ Belgium, ¦ Australia: ¦ 0-50) ¦ -25~25 ¦ SG6.0RT
70 | Device Information | 0x243C | 9276 | Default: 0-66 |  | FC03 | 1 |  |  | RO | (Germany, ¦ Belgium, ¦ Australia: ¦ 0-60) ¦ -30~30 ¦ SG7.0RT
71 | Device Information | 0x2432 | 9266 | 2;1 |  | FC03 | 2 |  |  | RO | Default: 0-77 ¦ (Germany, ¦ Belgium: ¦ 0-70; Australia: ¦ 0-69.99) ¦ -35~35 ¦ SG8.0RT ¦ 2;1 ¦ Default: 0-88 ¦ -40~40 ¦ Public
72 | Device Information | 0x2433 | 9267 | 2;1 |  | FC03 | 2 |  |  | RO | Default: 0-88 ¦ -40~40 ¦ Public ¦ (Germany, ¦ Belgium, ¦ Australia: ¦ 0-80) ¦ SG10RT ¦ 2;1 ¦ Default: 0-110 ¦ (Germany,
73 | Device Information | 0x2434 | 9268 | 2;1 |  | FC03 | 2 |  |  | RO | Default: 0-110 ¦ (Germany, ¦ Belgium, ¦ Australia: ¦ 0-110) ¦ -50~50 ¦ SG12RT ¦ 2;1 ¦ Default: 0-132 ¦ (Germany, ¦ Belgium, ¦ Australia:
74 | Device Information | 0x2435 | 9269 | 2;1 |  | FC03 | 2 |  |  | RO | Default: 0-132 ¦ (Germany, ¦ Belgium, ¦ Australia: ¦ 0-120) ¦ -60~60 ¦ SG15RT ¦ 2 ¦ Default: 0-165 ¦ (Germany, ¦ Belgium, ¦ Australia:
75 | Device Information | 0x2436 | 9270 | Default: 0-165 |  | FC03 | 2 |  |  | RO | (Germany, ¦ Belgium, ¦ Australia: ¦ 0-150) ¦ -75~75 ¦ SG17RT ¦ 2 ¦ 2 ¦ Default: 0-187 ¦ (Germany, ¦ Belgium, ¦ Australia:
76 | Device Information | 0x2436 | 9270 | Default: 0-165 |  | FC03 | 2 |  |  | RO | (Germany, ¦ Belgium, ¦ Australia: ¦ 0-150) ¦ -75~75 ¦ SG17RT ¦ 2 ¦ Default: 0-187 ¦ (Germany, ¦ Belgium, ¦ Australia: ¦ 0-170)
77 | Device Information | 0x2437 | 9271 | Default: 0-187 |  | FC03 | 2 |  |  | RO | (Germany, ¦ Belgium, ¦ Australia: ¦ 0-170) ¦ -85~85 ¦ SG20RT ¦ 2 ¦ 2 ¦ Default: 0-220 ¦ (Germany, ¦ Belgium, ¦ Australia:
78 | Device Information | 0x2437 | 9271 | Default: 0-187 |  | FC03 | 2 |  |  | RO | (Germany, ¦ Belgium, ¦ Australia: ¦ 0-170) ¦ -85~85 ¦ SG20RT ¦ 2 ¦ Default: 0-220 ¦ (Germany, ¦ Belgium, ¦ Australia: ¦ 0-200)

## Status_Definitions
Code | Name | Description | Bit_Definition
0 | INITIAL | Initial mode
1 | STANDBY | Standby mode
3 | ON_GRID | On-Grid mode
4 | OFF_GRID | Off-Grid mode
5 | FAULT | Fault mode
9 | SHUTDOWN | Shutdown mode
NOTE: Add/edit status codes. Descriptions used in Stage 2 InverterMode mapping.

## Error_Fault_Codes
Register | Bit | Error_No | Description | Notes
(No error codes detected from PDF)

## Grid_Codes
Code_Hex | Description
(No regulation codes detected from PDF)
NOTE: Register 0x5101 - Grid regulation/country code setting

## Fuse_Open_Data
Bit | Description | Value_Definition
(Not detected from PDF)
NOTE: Registers 0x1034~0x1035 — PV string fuse open status bits

## Status_Bits_03FC
Bit | Description | Value_Definition
(Not detected from PDF)
NOTE: Registers 0x03FC~03FD — DEA-AVM inverter action/run-state bits

## Fuse_Check_Mask
Bit | Description | Value_Definition
(Not detected from PDF)
NOTE: Registers 0x513D~0x513E — PV string fuse check enable/disable mask

## REMS_Error_Bits
Bit | Description | Value_Definition
(Not detected from PDF)
NOTE: REMS Error Code register — bit-field inverter alarm flags

## REMS_Registers
No | Description | Length_Bytes | Unit
(Not detected from PDF)
NOTE: REMS protocol register layout (function code 0x7E)