## Register_Mapping
No | Section | Source_Addr_Hex | Source_Addr_Dec | Source_Name | Source_Type | Source_Unit | Source_Scale | Source_RW | Source_Regs | → | Solarize_Name | Solarize_Addr_Hex | Match_Type | Notes
--- Device Information ---
1 | Device Information | 0x0026 | 38 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
2 | Device Information | 0x0029 | 41 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
3 | Device Information | 0x0028 | 40 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
4 | Device Information | 0x002A | 42 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
5 | Device Information | 0x002C | 44 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
6 | Device Information | 0x002D | 45 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
7 | Device Information | 0x002E | 46 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
8 | Device Information | 0x002F | 47 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
9 | Device Information | 0x0135 | 309 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
10 | Device Information | 0x011B | 283 | 0-1100 | U16 |  |  | RO | 3 | → |  |  | Unmapped
11 | Device Information | 0x011B | 283 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
12 | Device Information | 0x0131 | 305 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
13 | Device Information | 0x0136 | 310 | 0-1100 | U16 |  |  | RO | 4 | → |  |  | Unmapped
14 | Device Information | 0x0136 | 310 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
15 | Device Information | 0x0141 | 321 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
16 | Device Information | 0x0070 | 112 | 3;3;2 | U16 |  |  | RO | 3 | → |  |  | Unmapped
17 | Device Information | 0x0134 | 308 | 3;3;2 | U16 |  |  | RO | 3 | → |  |  | Unmapped
18 | Device Information | 0x0074 | 116 | 3;3;2 | U16 |  |  | RO | 3 | → |  |  | Unmapped
19 | Device Information | 0x013D | 317 | 3;3;2 | U16 |  |  | RO | 3 | → |  |  | Unmapped
20 | Device Information | 0x0137 | 311 | 0-1000 | U16 |  |  | RO | 3 | → |  |  | Unmapped
21 | Device Information | 0x0137 | 311 | 0-1000 | U16 |  |  | RO | 1 | → |  |  | Unmapped
22 | Device Information | 0x0072 | 114 | 0-1000 | U16 |  |  | RO | 1 | → |  |  | Unmapped
23 | Device Information | 0x0073 | 115 | 0-1000 | U16 |  |  | RO | 1 | → |  |  | Unmapped
24 | Device Information | 0x011B | 283 | 0-1000 | U16 |  |  | RO | 4 | → |  |  | Unmapped
25 | Device Information | 0x010F | 271 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
26 | Device Information | 0x0138 | 312 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
27 | Device Information | 0x0138 | 312 | 0-1000 | U16 |  |  | RO | 1 | → |  |  | Unmapped
28 | Device Information | 0x0132 | 306 | 0-1000 | U16 |  |  | RO | 1 | → |  |  | Unmapped
29 | Device Information | 0x0147 | 327 | 0-1100 | U16 |  |  | RO | 4 | → |  |  | Unmapped
30 | Device Information | 0x0147 | 327 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
31 | Device Information | 0x0148 | 328 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
32 | Device Information | 0x013F | 319 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
33 | Device Information | 0x013E | 318 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
34 | Device Information | 0x2C0F | 11279 | Default: 0-1100 | U16 |  |  | RO | 1 | → | FAULT_CODE_1 |  | Ref(62%)
35 | Device Information | 0x013C | 316 | 0-1100 | U16 |  |  | RO | 2 | → |  |  | Unmapped
36 | Device Information | 0x013C | 316 | 0-1100 | U16 |  |  | RO | 2 | → |  |  | Unmapped
37 | Device Information | 0x0142 | 322 | 0-1100 | U16 |  |  | RO | 2 | → |  |  | Unmapped
38 | Device Information | 0x0142 | 322 | 0-1100 | U16 |  |  | RO | 2 | → |  |  | Unmapped
39 | Device Information | 0x0149 | 329 | 0-1100 | U16 |  |  | RO | 2 | → |  |  | Unmapped
40 | Device Information | 0x0149 | 329 | 0-1100 | U16 |  |  | RO | 2 | → |  |  | Unmapped
41 | Device Information | 0x0143 | 323 | 0-1100 | U16 |  |  | RO | 2 | → |  |  | Unmapped
42 | Device Information | 0x0143 | 323 | 0-1100 | U16 |  |  | RO | 2 | → |  |  | Unmapped
43 | Device Information | 0x0139 | 313 | 0-1100 | U16 |  |  | RO | 2 | → |  |  | Unmapped
44 | Device Information | 0x0139 | 313 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
45 | Device Information | 0x014C | 332 | 0-1100 | U16 |  |  | RO | 4 | → |  |  | Unmapped
46 | Device Information | 0x014C | 332 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
47 | Device Information | 0x013B | 315 | 0-1000 | U16 |  |  | RO | 1 | → |  |  | Unmapped
48 | Device Information | 0x013B | 315 | 0-1000 | U16 |  |  | RO | 1 | → |  |  | Unmapped
49 | Device Information | 0x2C03 | 11267 | 0-1000 | U16 |  |  | RO | 1 | → |  |  | Unmapped
50 | Device Information | 0x2C03 | 11267 | 0-1000 | U16 |  |  | RO | 1 | → |  |  | Unmapped
51 | Device Information | 0x2C10 | 11280 | 0-1000 | U16 |  |  | RO | 1 | → |  |  | Unmapped
52 | Device Information | 0x2C10 | 11280 | 0-1000 | U16 |  |  | RO | 1 | → |  |  | Unmapped
53 | Device Information | 0x2C00 | 11264 | 0-1000 | U16 |  |  | RO | 1 | → |  |  | Unmapped
54 | Device Information | 0x2C0A | 11274 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
55 | Device Information | 0x2C01 | 11265 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
56 | Device Information | 0x2C02 | 11266 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
57 | Device Information | 0x2C0B | 11275 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
58 | Device Information | 0x2C06 | 11270 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
59 | Device Information | 0x2C0C | 11276 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
60 | Device Information | 0x2C11 | 11281 | 0-1110 | U16 |  |  | RO | 1 | → |  |  | Unmapped
61 | Device Information | 0x2C12 | 11282 | 0-1110 | U16 |  |  | RO | 1 | → |  |  | Unmapped
62 | Device Information | 0x2C12 | 11282 | 0-1000 | U16 |  |  | RO | 1 | → |  |  | Unmapped
63 | Device Information | 0x2C13 | 11283 | 0-1000 | U16 |  |  | RO | 1 | → |  |  | Unmapped
64 | Device Information | 0x2C15 | 11285 | 0-1250 | U16 |  |  | RO | 1 | → |  |  | Unmapped
65 | Device Information | 0x2C22 | 11298 | 0-1100 | U16 |  |  | RO | 1 | → |  |  | Unmapped
66 | Device Information | 0x243D | 9277 | 0-1000 | U16 |  |  | RO | 2 | → |  |  | Unmapped
67 | Device Information | 0x243E | 9278 | Default: 0-1100 | U16 |  |  | RO | 1 | → | FAULT_CODE_1 |  | Ref(62%)
68 | Device Information | 0x2430 | 9264 | Default: 0-44 | U16 |  |  | RO | 1 | → | FAULT_CODE_2 |  | Ref(58%)
69 | Device Information | 0x2431 | 9265 | Default: 0-55 | U16 |  |  | RO | 1 | → | FAULT_CODE_2 |  | Ref(58%)
70 | Device Information | 0x243C | 9276 | Default: 0-66 | U16 |  |  | RO | 1 | → | FAULT_CODE_2 |  | Ref(58%)
71 | Device Information | 0x2432 | 9266 | 2;1 | U16 |  |  | RO | 2 | → |  |  | Unmapped
72 | Device Information | 0x2433 | 9267 | 2;1 | U16 |  |  | RO | 2 | → |  |  | Unmapped
73 | Device Information | 0x2434 | 9268 | 2;1 | U16 |  |  | RO | 2 | → |  |  | Unmapped
74 | Device Information | 0x2435 | 9269 | 2;1 | U16 |  |  | RO | 2 | → |  |  | Unmapped
75 | Device Information | 0x2436 | 9270 | Default: 0-165 | U16 |  |  | RO | 2 | → | FAULT_CODE_1 |  | Ref(64%)
76 | Device Information | 0x2436 | 9270 | Default: 0-165 | U16 |  |  | RO | 2 | → | FAULT_CODE_1 |  | Ref(64%)
77 | Device Information | 0x2437 | 9271 | Default: 0-187 | U16 |  |  | RO | 2 | → | FAULT_CODE_1 |  | Ref(64%)
78 | Device Information | 0x2437 | 9271 | Default: 0-187 | U16 |  |  | RO | 2 | → | FAULT_CODE_1 |  | Ref(64%)
Mode: OFFLINE ¦ Match stats: Auto/Ref=9, Unmapped=69 ¦ Edit "Solarize_Name" for Unmapped rows (red = needs review).

## Status_Mapping
Raw_Code | Raw_Name | InverterMode_State | Solarize_Code | Notes
0 | INITIAL | INITIAL | 0
1 | STANDBY | STANDBY | 1
3 | ON_GRID | ON_GRID | 3
4 | OFF_GRID | ON_GRID | 3
5 | FAULT | FAULT | 5
9 | SHUTDOWN | SHUTDOWN | 9
NOTE: Edit "InverterMode_State" column: INITIAL/STANDBY/ON_GRID/FAULT/SHUTDOWN

## DER_AVM_Control
Address_Hex | Address_Dec | Name | Data_Type | FC | Registers | Unit | Scale | R/W | Description
0x07D0 | 2000 | DER_POWER_FACTOR_SET | S16 | FC06 | 1 |  | 0.001 | RW | Power factor setpoint [-1000,-800],[800,1000]
0x07D1 | 2001 | DER_ACTION_MODE | U16 | FC06 | 1 |  | 1 | RW | Action mode: 0=Self, 2=DER-AVM, 5=Q(V)
0x07D2 | 2002 | DER_REACTIVE_POWER_PCT | S16 | FC06 | 1 | % | 0.1 | RW | Reactive power % [-484,484]
0x07D3 | 2003 | DER_ACTIVE_POWER_PCT | U16 | FC06 | 1 | % | 0.1 | RW | Active power % [0,1100]
0x0834 | 2100 | INVERTER_ON_OFF | U16 | FC06 | 1 |  | 1 | RW | On/Off control: 0=ON, 1=OFF
0x0835 | 2101 | CLEAR_PV_INSULATION_WARNING | U16 | FC06 | 1 |  | 1 | WO | Clear PV insulation warning: 1=Clear
0x6001 | 24577 | INVERTER_CONTROL | U16 | FC06 | 1 |  | 1 | WO | Inverter control: 0=Power on, 1=Shut down
0x600D | 24589 | IV_CURVE_SCAN | U16 | FC06 | 1 |  | 1 | RW | IV curve scan: W 0=Stop,1=Start; R 0=Idle,1=Running,2=Finished
0x600F | 24591 | POWER_FACTOR_DYNAMIC | S16 | FC06 | 1 |  | 0.001 | RW | Dynamic power factor control
0x6010 | 24592 | REACTIVE_POWER_DYNAMIC | S16 | FC06 | 1 | % | 0.01 | RW | Dynamic reactive power control (%)
0x3005 | 12293 | POWER_DERATING_PCT | U16 | FC06 | 1 | % | 1 | RW | Active power derating [0-110]%
NOTE: DER-AVM control registers (always included). Do not modify addresses.

## DEA_AVM_Monitor
Address_Hex | Address_Dec | Name | Data_Type | FC | Registers | Unit | Scale | R/W | Description
0x03E8 | 1000 | DEA_L1_CURRENT_LOW | S32 | FC03 | 2 | A | 0.1 | RO | DEA L1 current (low word)
0x03E9 | 1001 | DEA_L1_CURRENT_HIGH | S32 | FC03 | 1 |  |  | RO | DEA L1 current (high word)
0x03EA | 1002 | DEA_L2_CURRENT_LOW | S32 | FC03 | 2 | A | 0.1 | RO | DEA L2 current (low word)
0x03EB | 1003 | DEA_L2_CURRENT_HIGH | S32 | FC03 | 1 |  |  | RO | DEA L2 current (high word)
0x03EC | 1004 | DEA_L3_CURRENT_LOW | S32 | FC03 | 2 | A | 0.1 | RO | DEA L3 current (low word)
0x03ED | 1005 | DEA_L3_CURRENT_HIGH | S32 | FC03 | 1 |  |  | RO | DEA L3 current (high word)
0x03EE | 1006 | DEA_L1_VOLTAGE_LOW | S32 | FC03 | 2 | V | 0.1 | RO | DEA L1 voltage (low word)
0x03EF | 1007 | DEA_L1_VOLTAGE_HIGH | S32 | FC03 | 1 |  |  | RO | DEA L1 voltage (high word)
0x03F0 | 1008 | DEA_L2_VOLTAGE_LOW | S32 | FC03 | 2 | V | 0.1 | RO | DEA L2 voltage (low word)
0x03F1 | 1009 | DEA_L2_VOLTAGE_HIGH | S32 | FC03 | 1 |  |  | RO | DEA L2 voltage (high word)
0x03F2 | 1010 | DEA_L3_VOLTAGE_LOW | S32 | FC03 | 2 | V | 0.1 | RO | DEA L3 voltage (low word)
0x03F3 | 1011 | DEA_L3_VOLTAGE_HIGH | S32 | FC03 | 1 |  |  | RO | DEA L3 voltage (high word)
0x03F4 | 1012 | DEA_TOTAL_ACTIVE_POWER_LOW | S32 | FC03 | 2 | kW | 0.1 | RO | DEA total active power (low word)
0x03F5 | 1013 | DEA_TOTAL_ACTIVE_POWER_HIGH | S32 | FC03 | 1 |  |  | RO | DEA total active power (high word)
0x03F6 | 1014 | DEA_TOTAL_REACTIVE_POWER_LOW | S32 | FC03 | 2 | Var | 1 | RO | DEA total reactive power (low word)
0x03F7 | 1015 | DEA_TOTAL_REACTIVE_POWER_HIGH | S32 | FC03 | 1 |  |  | RO | DEA total reactive power (high word)
0x03F8 | 1016 | DEA_POWER_FACTOR_LOW | S32 | FC03 | 2 |  | 0.001 | RO | DEA power factor (low word)
0x03F9 | 1017 | DEA_POWER_FACTOR_HIGH | S32 | FC03 | 1 |  |  | RO | DEA power factor (high word)
0x03FA | 1018 | DEA_FREQUENCY_LOW | S32 | FC03 | 2 | Hz | 0.1 | RO | DEA frequency (low word)
0x03FB | 1019 | DEA_FREQUENCY_HIGH | S32 | FC03 | 1 |  |  | RO | DEA frequency (high word)
0x03FC | 1020 | DEA_STATUS_FLAG_LOW | S32 | FC03 | 2 |  | 1 | RO | DEA status flag (low word)
0x03FD | 1021 | DEA_STATUS_FLAG_HIGH | S32 | FC03 | 1 |  |  | RO | DEA status flag (high word)
NOTE: DEA-AVM monitoring registers (always included). Do not modify addresses.